## 0lR64Stp.xls
Facility: Quarters 2 - PHPDA Main Office |  |  | Location: 1147 14th Ave S Quarter 2, Seattle, WA 98144 |  |  | Date of Assessment: November 21st and 22nd, 2019
The following areas did not meet the standards of the 2015 NW ADA Center WA Accessibility Checklist, 2010 ADA Standards for Accessible Design and/or WA State Building Code:
Access to Goods and Services (Interior Routes): Quarters 2 |  |  |  | Priority 2
ADA Codes | Area of Concern | Accessibility Issue | Suggestions / Solutions | Photo 1 | Photo 1 Caption | Photo 2 | Photo 2 Caption | Photo 3 | Photo 3 Caption
304; 304.3.1; 304.3.2 | Turning Space | There should be adequate space available where turning spaces are needed or required for a wheelchair or other mobility device. | When this facility is remodeled and made accessible, provide a clear floor space for turning and passing. If possible, 60 inches for turning. T-Shape is acceptable and allow 36 inches minimum clearance in all directions. |  | Hallway towards kitchen and rear exit/entry door.
308.2.1; 308.2.2 | Clear Width of Accessible Routes and Reach Distances | All interior accessible routes should have a minimum clear, unobstructed width of 36 inches. | When this facility is remodeled and made accessible, ensure that doorway clearance is 32 inches or more. Provide a minimum of 36 inches of clearance in the hallway to allow a wheelchair or mobility users to maneuver safely. |  | Entry into the kitchen and back doorway clearance is 31 inches.
404.2.4 | Maneuvering Clearance | The pull and push sides of doors should have adequate maneuvering clearances in front of and to the sides of doorways. This is so that a person using a wheelchair can position themselves to easily and safely open the door. | Provide an adequate maneuvering clearances for pull and push sides of doors in front of and to the sides of doorways so that a person using a wheelchair can position themselves to easily and safely open the door. In the meantime, keep the interior doorways open during business hours. If this space is considered for remodeled or improved, accessibility should be considered to ensure that barriers are removed for anyone who use this facility. |  | Conference room |  | Main Floor Office/Space
404.2.5 | Thresholds of Doorways | Raised thresholds and level changes at doorways with a height between 1/4 inch and 1/2 inch should be beveled with a maximum slope of 1:2. Existing or altered thresholds may be 3/4 inch high maximum if their edges are beveled with a slope not steeper than 1:2. | Doorway threshold transition must not exceed 1/4 inch or 1/2 inch if beveled. Similar to adjacent facility, Quarters 1, both front door and rear door have steps entrances. A considerable improvement will be required to provide access to Quarters 2 facility. Quarters 2 could offer a more realistic access point for a ramp access thru the south side of the building - patio area (refer to photo 2). A minimum of one accessible route from the site to an accessible entry is required. Due to its historical significance, renovation and fixes maybe limited for exterior modification. A consultation with an architect to determine if a ramp access is technical feasibility should be considered. NOTE: Alterations in historic buildings must comply with the same standards as other alterations to existing buildings to maximum extent feasible with this part (Section 36.405). If it is determined that providing access threatens or destroys the historic significance, then alternative methods of access must be provided per subpart C. |  | Front door threshold |  | Quarters 2 -South side of the building with a patio area.
404.2.7 | Door Hardware | All latch doors along accessible routes should have a handle that does not require tight grasping, pinching, or twisting to operate. | Retrofit door handles if original door knobs are retained by encasing door knob with a lever type door hardware. A lever or loop type door handles should not require tight grasping, pinching, or twisting to operate. |  | Office main floor entry |  | Rear Entry Door |  | Front Entrance
703.4; 216.2: 703.5.1 | Signs for Permanent Rooms and Spaces | Every permanent room or space (such as restrooms, offices, or meeting rooms, etc.) should be designated with a sign having good contrast between characters and background, adequate character size for viewing distance, raised (tactile) characters, and Braille. | Signs are not provided to any permanent rooms. Signs must be provided on all permanent rooms or spaces. Conform to ADA minimum standards for proper signage installation. Install signs on the latch side of the doorway and a person who is low vision can get close to the sign to be able to read. Refer to picture 3 for an example of room sign. |  | Conference room |  | Main floor office |  | Example of a Door Sign: Raised Text and Braille, good contrast, character size.
901.1; 902.2; 902.4 | Table Placement and Seating Distribution | Tables or work spaces, if available, should have a 36 inch aisle clearance between tables for wheelchair access. | The clearance is 28 1/2 inches between the fridge and wall partition. Eliminate table and if possible wall partition to provide turning and passing in the kitchen area. This will also allow clear floor space to access the fridge and sink. |  | Clearance between the fridge and table top |  | Kitchen table and wall partition clearance
902.3 | Table Height and Legroom | Spaces under tables or work surfaces should provide clear space for knees and toes. | Sink and microwave have no roll under access for a person who is a wheelchair user. Provide accessible sink and access to other appliances to roll under for a forward approach. NOTE: Faucet operable parts (hot/cold water supply) are not accessible and require tight grasping or twisting to operate. For greater accessibility, replace faucet unit with lever handles or an automatic motion sensor faucet. |  | Sink |  | Microwave
902.3 | Table Height and Legroom | The top surfaces of tables and work surfaces should be 28 inches minimum to 34 inches maximum in height above the floor. | High counter work surface area. When replaced or remodeled, ensure that work surface and sink counter area height do not exceed 34 inches maximum from the floor surface to the top of the work surface area. Provide at least 30 by 48 inches clear floor space to roll under. |  | Sink and counter space. |  | Kitchen counter in the middle of kitchen area.