## S0RWJyLZ.xls
Facility: Quarters 6 and 7 Inteior Routes |  |  | Location: PHPDA - 1147 14th Ave S Quarter 2, Seattle, WA 98144 |  | Date of Assessment: November 21st and 22nd, 2019
The following areas did not meet the standards of the 2015 NW ADA Center WA Accessibility Checklist, 2010 ADA Standards for Accessible Design and/or WA State Building Code:
Access to Goods and Services (Interior Routes): Quarters 6 and 7 |  |  |  | Priority 2
ADA Codes | Area of Concern | Accessibility Issue | Suggestions / Solutions | Photo 1 | Photo 1 Caption | Photo 2 | Photo 2 Caption
308.2.1; 308.2.2 | Clear Width of Accessible Routes and Reach Distances | All interior accessible routes should have a minimum clear, unobstructed width of 36 inches. | When this facility/space is made accessible for all, provide a sign indicating room occupancy maximum capacity to provide users information on the limited number of people who can use the space. Provide a sign with the International Symbol of Accessibility if the space has accessibility features. Ensure that seating spaces at tables or work surfaces allow for 36 inches clearance for passing and a forward approach table to roll under. Table work surface must allow for a knee clearance of 27 inches and toe clearance of 9 inches, and a clear floor space of 30 by 48 inches. If it is anticipated that a person with a disability will be attending or occupying this space, provide a seating of her/his/their choice. As a best practice, offer an accessible seating closest to the doorway for adequate maneuvering clearance and/or an exit route in an event of an emergency evacuation. |  | Conference room with a boardroom table arrangement. |  | Conference room clearance between tables and side wall.
404.2.7 | Door Hardware | All latch doors along accessible routes should have a handle that does not require tight grasping, pinching, or twisting to operate. | Loop hardware is acceptable but with small opening it is very tight to grasp with one hand or closed-fist. Loops or lever handles requiring one hand or closed-hand operation serve a wide array of users. Door handles must be mounted no higher than 48 inches and no lower than 34 inches from the floor surface. |  | Door handle.
703.4.1 | Signs for Permanent Rooms and Spaces | Tactile signs should be mounted so that the bottom edges of the highest tactile characters are 60 inches maximum and the lowest tactile characters are 48 inches minimum from the floor to surface. | Signs must conform to the ADA minimum standards and signs must be mounted on the latch side of the doorway. Provide visitors clear and visible signs to provide identification to each the facilities for effective wayfinding. |  | Quarters 6 &7 Administration Bldg. Exterior Sign
Quarters 6/7 Bldg.
703.4; 216.2: 703.5.1 | Signs for Permanent Rooms and Spaces | Every permanent room or space (such as restrooms, offices, or meeting rooms, etc.) should be designated with a sign having good contrast between characters and background, adequate character size for viewing distance, raised (tactile) characters, and Braille. | Permanent room signs is not provided. Install a sign to conform to ADA minimum requirements. |  | Main floor conference room.